To be completed and must be returned with proponent’s submission.

PRICE PROPOSAL FOR RFP

- Supply & Installation of Electrical Devices at St. Georges & Dockyard Depots.

Fixed Sum - shall include all margins, overheads, processing fees, for services and all parts.

The Price Proposal form must use the same deliverables as outlined in the deliverables from the Government. Proponent must provide a pricing proposal that includes a clear breakdown of services and rates.

Supply and installation costs

| No. | Equipment | Location | Quantity | Units | Rate | Total |
| --- | --- | --- | --- | --- | --- | --- |
|  | St. Georges |  |  |  |  |  |
| 1 | Supply and install 1 x 400A Disconnect + 2 x 600A panelboard + 2 x splitters trough + PT- BS | St. Georges | 1 | Item |  | $ |
| 2 | Removal of Existing 400A Panelboard |  | 1 | item |  | $ |
| 3 | Reconnect PT-1 LV cabling to new switchboard | St. Georges | 1 | item |  | $ |
| 4 | Reconnect 4 existing charging pedestals to new switchboard | St. Georges | 1 | item |  | $ |
| 5 | Supply & connect 5 x CAT6 comms cabling/ terminations | St. Georges | 1 | item |  | $ |
| 6 | Supply & connect 5 charging pedestals cabling to new switchboard | St. Georges | 1 | item |  | $ |
| 7 | Construct a 14’-0” x 6’-0” x 10” reinforced concrete block wall | St. Georges | 1 | Item |  | $ |
| 8 | Testing & Commissioning | St. Georges | 1 | Item |  | $ |
|  | Dockyard |  |  |  |  |  |
| 9 | Supply and install 2 x 400A Disconnect + 2 x 600A panelboard + 2 x splitters trough + PT- BS | Dockyard | 1 | item |  | $ |
| 10 | Removal of Existing 400A Panelboard | Dockyard | 1 | item |  | $ |
| 11 | Reconnect PT-1 LV cabling to new switchboard | Dockyard | 1 | item |  | $ |
| 12 | Reconnect 4 x existing charging pedestals to new switchboard | Dockyard | 1 | item |  | $ |
| 13 | Supply & connect PT-2 LV cabling to new switchboard | Dockyard | 1 | item |  | $ |
| 14 | Supply & connect 6 charging pedestals cabling to new switchboard | Dockyard | 1 | item |  | $ |
| 15 | Supply & connect 6 x CAT6 comms cabling/ terminations | Dockyard | 1 | item |  | $ |
| 16 | Construct a 14’-0” x 6’-0” x 10” reinforced, concrete block wall | Dockyard | 1 | item |  | $ |
| 17 | Testing & Commissioning | Dockyard | 1 | item |  | $ |
|  | Preliminaries |  |  |  |  |  |
| 18 | Works Method Plan | St.Georges & Dockyard | 1 | item |  | $ |
| 19 | Overheads and Profit %......... |  |  |  |  | $ |
| 20 | Total Cost |  |  |  |  | $ |

TOTAL FIXED TENDER SUM (WORDS)…………………………………………………………………………………………………

SCHEDULE OF RATES

The rates and prices (in Bermuda dollars) in the following schedule are to be inclusive of services overheads, administration, profit, taxes, disbursements, and related charges in providing the service.  These rates shall be used for determining charges for the services rendered.

| CATEGORY | ITEM | UNIT | COST |
| --- | --- | --- | --- |
| General Labour Rates | Electrical Manager | per hour | $ |
|  | Electrical Foreman | per hour | $ |
|  | Electrical Apprentice | per hour | $ |
|  | Other | per hour | $ |

RESPONSIBILITY MATRIX

| Item | Description | Supply | Install |
| --- | --- | --- | --- |
| 1 | Electrical equipment and cabling | Contractor | Contractor |
| 2 | Site Safety | Contractor | Contractor |
| 3 |  |  |  |
| 4 |  |  |  |

Contract Period       __________________________________________________ (weeks)

Name:

Signature:		_________________________________________________________

Name:

Block letters:		_________________________________________________________

On Behalf Of:

Company name: 		_________________________________________________________

Date:		________________________________________________________