Steel DOORS Sets INSTALLATION SPECIFICATION

Between the Owner: 	Department of Corrections
19 Happy Valley Road
Pembroke
Bermuda

441-295-4975

And the Contractor:		To be Advised

For the Project:		Westgate Correctional Facility

1 Pender Road

Sandys

Building #: 0090, 0091, 0092, 0094

Table of Contents

Table of Contents………………………………………………………………..….	2

Division 01. General Requirements…………………………………………………………....	3

Division 02. Site Work……………………………………………………………………………..	5

Division 09. Finishes……………………………………………………………………….......	5

Division 01. General Requirements

01510 - Temporary Utilities

All connections and extensions required to provide temporary utilities shall be made by the owner.

01520 - Construction Facilities

Storage space shall be provided by the owner for the storage materials only.

01523 - Sanitary Facilities

The owner will provide sanitary facilities, which are to be kept in a neat and sanitary condition by the contractor for the duration of these works.

01530 - Temporary Construction

The contractor shall provide and maintain for duration of work all required temporary stairs, ladders, ramps, runways and hoists to enable the safe operation of these works.

01540 - Construction Aides

The contractor to provide all construction aides needed during construction which shall include but not limited to; elevators, hoists, cranes, etc.

01542 - Construction Scaffolding and Platforms

The contractor shall provide and maintain for duration of work all required temporary standing scaffolding. 'Independent tied' scaffolds will normally be provided for painting, pointing or other maintenance work.

01560 - Temporary Barriers and Enclosures

The contractor shall provide barriers to prevent unauthorized entry into construction areas and to protect existing facilities and adjacent properties from damage from construction operations.

01600 - Product Requirements (Scope of Work)

All materials shall be installed in strict accordance with the manufacturer’s written specifications or Material’s Institute Standards. Where the manufacturer’s recommended details are used, the manufacturer shall be responsible for the performance of their product. All Items not specifically mentioned that are required to make the work complete and operational shall be included.

Installation and Storage - All materials, supplies and equipment shall be installed per manufacturer’s recommendations and per applicable codes and requirements.  Material stored on site shall be protected from damage by moisture, wind, sun, abuse or any other harmful affects.

01630 - Product Substitution Procedures

If unable to source the specified product on island the Contractor is to investigate alternative proposed products and determine that they are equal or superior in all respects to products specified. Coordinate installation of accepted substitutions into the Work, making such changes as may be required for the Work to be complete in all respects.  Meet with clients and get change order request signed.

01700 - Execution Requirements

The execution of all work shall be in strict accordance with these specifications and manufacturer’s written specifications or Material’s Institute Standards. Where the manufacturer’s recommended details are used, the manufacturer shall be responsible for the performance of their product. All work not specifically mentioned that is required to make the work complete and operational shall be included.

Codes - Construction shall comply with all applicable national, state and local building codes.  It is the responsibility of the Contractor to insure compliance with said codes and modify the specifications as needed to comply with such codes.

Measurements - The Contractor shall check and verify all dimensions and conditions before proceeding with construction.

Workmanship - Workmanship shall conform to the best and highest standards of quality in each trade and shall include all items of fabrication, construction and installation.  All work shall be completed by skilled tradesmen and mechanics. Installation of all equipment and materials shall be in strict accordance with manufacturer’s recommendations.

Insurance - Builders Risk Insurance shall be maintained by the contractor during the course of construction until final acceptance by the owner.  All bonding and insurance requirements shall be coordinated with the Owner prior to beginning construction. All contractors shall provide and be solely responsible for necessary barricades and safety precautions, and strictly adhere to all governing codes on safety, including the OSHA Act.

01740 - Cleaning

Construction site to be kept in a clean and orderly condition throughout the construction process. At the conclusion of construction, the project shall be properly cleaned. Clean exterior such as debris from hard landscaped areas, driveways, and walks, etc.  Remove all waste and surplus materials.

01760 - Protecting Installed Construction

Contractor is to protect all installed construction.  If products or materials come with a protective coating, contractor shall maintain protective coating until construction is complete.  Contractor shall replace any items that become defective or damaged.

01903 - Hazardous Materials Abatement

Contractor is to abate any hazardous material or substance before beginning construction.  Contactor shall contract with a properly licensed and qualified hazardous material contractor.

division 02. site work

02000 - General

The works at Westgate facility involve the removal of existing and installation of 34 new metal security doors and frames in the locations mentioned in the Door Schedule and in accordance with the Installation, Care and Maintenance Manual. The new metal doors, hinges, glazing and lock sets will be supplied by the Owner. The contractor is to allow for all labour and associated material and preliminary costs including for the making good of all masonry finishes.

All such removed/demolished items are to be cleared to a government licensed refuse site at the sole cost of the Contractor.

Division 09. Finishes

09000 - General

Contractor shall provide labour and materials pertaining to the masonry finishes as required and as specified herein, while complying with all applicable building codes.

Notes:

- Prior to submitting a bid, you must visit the site and satisfy yourself as to the nature, complexity and quantity of the works to be finally performed and the relevant equipment and labour skills, productivity and hours required to complete these works.

- All materials and labour will be provided by the successful Contractor and shall therefore be included in his price. With the exception of the materials as outlined in item 02000 – General.